Government of the People’s Republic of Bangladesh

Office of the Executive Engineer

Nilphamari PWD Division, Nilphamari

Invitation for Tender(OTM)

IFT No-3 (Civil)/2016-2017.

| Memo No. 25.36.7300.115. 16.14.005.17.206(45) | Date:- 07/11/1423 Bang. 19/02/2017 Eng. |
| --- | --- |

2nd CORRIGENDUM NOTICE

This is to inform for all concerned that the following correction have been in the ''Invitation for Tenders'' by this office Memo No: 25.36.7300.115.07.035.16.14.005.17.80(45) Date: 22.01.2017 Eng. IFT No. 3(Civil)/2016-2017 for '' Construction of Barrack Building at Saidpur Railway  Police Lines, Nilphamari (1-storied building with 6-storied foundation)  Fy-2016-2017''

| Description | As mentioned in IFT & BOQ | To be replaced as IFT & BOQ |
| --- | --- | --- |
| IFT SL No-17, Last date and time for selling tender document | 22/02/2017 during office hours. | 06/03/2017 during office hours. |
| IFT SL No-18, Last date and time for submission of tender | At 12.00 Noon on 23/02/2017 | At 12.00 Noon on 07/03/2017 |
| IFT SL No-19, Date and time for opening tenders | At 3.00 P.M on 23/02/2017 in the office of the Executive Engineer, Nilphamari PWD. Division, Nilphamari (in presence of TOC and interested tenderers ). | At 3.00 P.M on 07/03/2017 in the office of the Executive Engineer, Nilphamari PWD. Division, Nilphamari (in presence of TOC and interested tenderers ). |
| BOQ Item No-20, Page No-129, (Sub-Head "B" SUPER STRUCTURE) | Supplying, fitting and fixing 38 mm thick well matured, natural seasoned (min.10" wide plank) wooden double leaf panel door shutters. Top rail and styles of sections 100 mm x 38 mm. lock rail 125 mm x 38 mm and bottom rail 225 mm x 38 mm. paneling 25 mm thick one side raised, provided with best quality 6 nos. 100 mm iron hinges, 2 (two) Nos. best quality 12 mm dia 300 mm and 200 mm long iron tower and socket bolts, 2 (two) Nos. heavy type nickel plated handles, 1 No. hatch-bolt hinged cleats, buffer blocks and finished by sand papering, necessary screws etc. all complete in all floors and accepted by the Engineer.(Double leaf. All sizes of wood are finished) | Supplying, fitting and fixing 38 mm thick well matured, natural seasoned (min.10" wide plank) wooden double leaf panel door shutters. Top rail and styles of sections 100 mm x 38 mm. lock rail 125 mm x 38 mm and bottom rail 225 mm x 38 mm. paneling 25 mm thick one side raised, provided with best quality 6 nos. 100 mm iron hinges, 2 (two) Nos. best quality 12 mm dia 300 mm and 200 mm long iron tower and socket bolts, 2 (two) Nos. heavy type nickel plated handles, 1 No. hatch-bolt hinged cleats, buffer blocks and finished by sand papering, necessary screws etc. all complete in all floors and accepted by the Engineer.(Double leaf. All sizes of wood are finished) Chittagong Teak |

All other terms and condition will remain unchanged. This corrigendum will be a part and parcel of this Tender.

| ( Md. Noor Alam Pramanik ) Sub-Assistant Engineer (Civil) Nilphamari PWD Division, Nilphamari. |  | ( Md. Mizanur Rhaman ) Executive Engineer (c.c) Nilphamari PWD Division, Nilphamari |
| --- | --- | --- |