**GOVERNMENT OF THE PEOPLE'S REPUBLIC OF BANGLADESH**

OFFICE OF THE EXECUTIVE ENGINEER,

JHALAKATI PWD DIVISION,

JHALAKATI.

|  |  |  |
| --- | --- | --- |
| **Memo No- 1740** | **Dated :** | **20 /06/1423 Bang.** |
| **05 /10/2016 Eng.** |

-: 1st Corrigendum:-

This corrigendum for information all concerned. The Tender invited for "Construction of 2-storied Women's Barrack (Type-2) with 6-storied foundation in/c. Civil, Sanitary & Electrification works at Jhalakati Police Lines, Jhalakati**"** vide this office **memo No-1619 date-08/09/2016, IFT No-03/2016-2017**. The **BOQ** Sl No**- Part "A" Civil No-23 & Part "B" Sanitary No-26** of there will be a corrigendum for unavoidable circumstances as below.

|  |  |  |
| --- | --- | --- |
| BOQ  Sl. No. | As per tender notice | To be read As per corrigendum |
| Civil Part "A" No-23 | **454.04 Cum** | **69.79 Cum** |
| Sanitary Part "B" No-26 | Supply and installation of foreign made **food grade stainless steel water tank** including supply of hardware, consumables, fittings etc. all complete approved and accepted by the Engineer.  6000 liter capacity (04 Nos) | Supplying, fitting fixing of **food grade plastic overhead water reservoir** tank including all necessary fittings, hardware and consumables etc. all complete approved and accepted by the Engineer.  2000 liter capacity (06 Nos) |

**Add. New item- BOQ Sl. No-48,49,50,51,52,53 & 54**

The other terms and condition remain unchanged.

This will be treated as a part of the Corrigendum Notice & BOQ Document.

|  |  |  |
| --- | --- | --- |
| Sub-Assistant Engineer,  PWD Division, Jhalakati |  | (Md. Abul Kalam)  Executive Engineer  Jhalakati PWD Division |