GOVERNMENT OF THE PEOPLE’S REPUBLIC OF BANGLADESH

OFFICE OF THE EXECUTIVE ENGINEER,

MAGURA PWD DIVISION, MAGURA.

Phone No: 0488-62505, Fax No: 0488-63005.

e-mail: ee_magur@pwd.gov.bd.

28-12-1423 Bang.

Memo No-25.36.5500.127.35.024.17/1234  				        	          Dated:-------------------------

11-04-2017 Eng.

ÔÔCorrigendum Notice”

This is for General information all concern that the following amendment have been made to the invitation of Tender No-16(E-M) Lot No-02/2016-17 Vide this Office Memo no-25.36.5500.127.35.024.17/1110, dated-13-12-1423 Bang/27-03-2017 Eng.  Due to unavoidable circumstances and the amendment shall be follows:

| Sl no. | As per Original Tender Schedule | As per Corrigendum |
| --- | --- | --- |
| 01. | Nil. | Special Terms and Conditions of Medical Gas System: Annexure-M, PWD Schedule of Rates for E/M works-2104, Page No-413 to 416. D. Materials supply: General Terms-4. Quality assurance tests of the products as per standards will have to be carried out by the at least two engineers. Such tests will be carried out at manufacturer primes. All coat related to engineer’s travel, food accommodation, pocked allowance etc will be borne by supplier. For special reasons if inspection is not performed by the engineers of the PWD, then quality assurance tests will be carried out by Govt. Approved/Internationally accepted inspection agencies (home and abroad). The expenditure for this will incorporate by the bidder at the time of participation. |

N.B: All other terms and conditions of the above Tender will remain unchanged and this Corrigendum Notice will also be an integral part of the Tender.

|  | ( Prodip Kumar Bose) Executive Engineer, Magura PWD Division, Magura. |
| --- | --- |